A directional-based branches current method for transmission loss allocation

Rahmat Aazami

Assistant Professor

Faculty of Engineering

Ilam University

Ilam, Iran

Email: r.aazami@ilam.ac.ir

Hassan Monsef

Associate Professor

Faculty of Engineering

University of Tehran

Tehran, Iran

Email: hmonsef@ut.ac.ir

Abstract—This paper proposes a new method for transmission loss allocation. The share of each bus in the transmission line losses is determined using transmission line loss equations with respect to bus injected currents. Then, it is applied to the total network transmission lines. In the proposed method comparing with other methods, a solution to remove the negative loss allocation has been introduced. This algorithm is based on the electric network relations and the injected power in various buses considering the network topology. The proposed method is studied on a typical 3-bus, and applied to the IEEE 14-bus networks. In comparison with other methods, a new solution for removing negative loss allocation is proposed.

Keywords- transmission loss allocation; line losses; injected power; network topology

# Introduction

In power networks, a few percentage of the transmission power is always lost. The main part of these losses is due to the flow of current in ohmic resistance of the transmission lines. In traditional power systems, all attempts done in order to minimize the network losses in terms of costs. The overall cost of losses is added to other generation and transmission costs and forms the total operation cost of the network. But in deregulated power systems, every player of the system posses the separate legal character and therefore it is independent in terms of income and costs. Thus, determining their share in total network costs including the losses is unavoidable [1]. On the other hand, in deregulated power systems, regardless of losses optimization, another serious question is posed that how the total cost of losses should be paid by the power market players. In the pool-based electricity market, the loss allocation helps to recognize the share of each generation or consumption unit from the total network losses. So, the ISO could receive the losses costs from each of the market participants and could return it to the generation companies [2].

In the markets which are based on bilateral contracts, the losses of each contract should be specified in the contract content and its support source should be determined. In spite of the high importance of loss allocation to the participants, technically and economically, due to complexity, nonlinear nature and high dependence of loss function on different variables, no comprehensive and precise method which can be practically employed has been presented hitherto. But due to significance of this issue, the various methods have been published in the papers which most of them have used simple assumptions. In Pro rata method [3], that is the most popular one, the loss is allocated to each generator or load, regarding their power injection to network, rather than total network power injection. In fact, this method doesn't consider the location of losses or network topology. So, a remote generator or load that certainly causes more power losses treats the same as other near network players.

Proportional sharing principle is based on a non-provable theorem that assumes the inflow powers are proportionally shared between the outflows power at each network bus [4]-[5]. This method uses an additional assumption, which losses of each branch allocate in 50 percent to its sending and ending nodes.

Ref [6] suggests a radial equivalent network for transmission system that each generator may have an individual connection to all loads and in this way makes it possible to allocate system loss, but total losses may not equal to real system loss and also it is too complicated for real power systems.

References [7-9] trace losses back from the network branch to the load. These strategies generally involve an algorithm to determine how the losses are attributed to generators/loads as one traverse through the network. Either the algorithm allows loss attribution to be specified according to a user-defined formula, or a loss sharing formula is implicitly included.

The cooperative game theory was utilized to allocate transmission costs to wheeling transactions [10]. A method, based on circuit theory, has also been proposed to trace power from either the seller’s and/or the buyer’s point of view [11]. In [12], line power flows are first unbundled into a sum of components, each corresponding to a bilateral transaction. In these schemes, the coupling terms among the components appeared in the line losses could be allocated to individual bilateral transactions. In [13], a process is used whereby individual bilateral transactions are gradually incremented along a given path of variation. Each bilateral transaction might elect to have its losses supplied by a separate slack generator.

In [9] starting from an ac load flow solution, the contributions of all generators to the flow in each circuit are evaluated and the same proportion is used to share circuit losses among them. The Z-bus loss allocation uses the total system loss formula and tries to write it in the summation form of each bus complex current injection [14].

In [15] a loss allocation method has been introduced in bilateral markets. In order to apply the loss allocation to contracts, this method uses the branch current circuit equations. In this paper, each contract contains a sending bus (seller) and several receiving buses (buyers). In Ref [16] presents a loss allocation method based on the circuit theories and the concept of orthogonal projection for pool-based electricity markets.

Min .et all in [17] presents a new algorithm of accurate bus-wise transmission loss allocation based on path-integrals. With rigorous theoretical analysis, a new path-integral method is developed by integrating the partial differential of the system loss along a path reflecting the transaction strategy.

The transmission loss is allocated according to a mathematical relationship between the node power and the line power flow for a DC power network in [18]. By this proposed method, the authors not only can allocate total loss to either generator or load node, respectively, but also can distribute it to both generator and load nodes conveniently.

Satyaramesh in [19] presented a usage-based methodology of transmission loss allocation in deregulated power systems under open access. This new approach calculates the portion of real power transmission loss contributions from the generators and simultaneously the portion of real power transmission loss allocated to the loads using their contract obligations with the generators in the open access environment.

The loss allocation problem in multi-area transmission networks is studied in [20].

It should be noted that a suitable method should have the following properties in order to have a proper and fair loss allocation:

1- The allocated share to each of the buses of the network should be a real reflective of the losses of that bus.

2- The method is able to be performed with the load flow results.

3- The method does not allocate the negative loss to network buses.

In this paper, using the loss equations of a transmission line, with respect to bus injected currents, the share of each bus from the mentioned transmission line losses has been determined. Then, the share of any buses from the total network losses has been acquired applying the proposed method to the total network transmission lines. Also, a solution to remove the negative loss allocation has been introduced. This algorithm is based on the main network relations besides the injected power in various buses, and it considers the network topology. In comparison with other methods, in this paper a new solution for removing loss allocation is proposed.

A three-bus test system is employed to show the main steps of the proposed technique. Numerical results obtained from the IEEE 14-bus test system illustrate the quality of the loss allocation determined via the proposed methodology.

# Proposed subsidized Transmission Loss Allocation

In power networks, the total loss is due to the power flows in transmission lines. In fact, the total loss is sum of the losses of all transmission lines. Assume the power flow results of the network are available. The connected transmission line between ith and jth buses is considered as shown in Fig 1.

Figure.1. Diagram of transmission line.

Fig 1

The equation of the line current flow with respect to the network impedance and admittance matrix, the voltage across the line and injected currents to buses could be written as follows:

| Also, the bus voltage equations with respect to the injected bus currents could be calculated as: (1) | Iij=yij×Vi−VjIij=ℜIij+jℑIij |
| --- | --- |

| (2) | Vi=k=1nzikIk |
| --- | --- |

Inserting the above equation in (1), yields:

| (3) | Iij=k=1nyij×zik−zjkIk=k=1naijk+jbijk×Ikp+jIkq⇒aijk=ℜyij×zik−zjkbijk=ℑyij×zik−zjkIij=k=1naijkIkp−bijkIkq+jk=1naijkIkq+bijkIkp |
| --- | --- |

The real and imaginary parts of the line current could be written as (4):

| (4) | ℜIij=k=1naijkIkp−bijkIkqℑIij=k=1naijkIkq+bijkIkp |
| --- | --- |

The share of bus k from the line admittance current is as follows:

| (5) | ℜIijk=aijkIkp−bijkIkqℑIijk=aijkIkq+bijkIkp |
| --- | --- |

Also, the transmission line loss can be written as:

| 6) | Plossij=rij×Iij2Iij=ℜIij+jℑIij |
| --- | --- |

According to the real and imaginary parts of the line current, we have:

| (7) | Iij2=ℜIij2+ℑIij2 ℜIij2=k=1naijkIkp−bijkIkq2=k=1naijkIkp−bijkIkq×k=1naijkIkp−bijkIkq =k=1naijkIkp−bijkIkq2+aijkIkp−bijkIkq×m=1≠knaijmImp−bijmImqℑIij2=k=1nbijkIkp+aijkIkq2=k=1nbijkIkp+aijkIkq×k=1nbijkIkp+aijkIkq =k=1nbijkIkp+aijkIkq2+bijkIkp+aijkIkq×m=1≠knbijmImp+aijmImq |
| --- | --- |

So, Eq. (6) can be written as:

| (8) | Plossij=rij×Iij2=rijℜIij2+rijℑIij2=rij×k=1naijkIkp−bijkIkq2+aijkIkp−bijkIkq×m=1≠knaijmImp−bijmImq+bijkIkp+aijkIkq2+bijkIkp+aijkIkq×m=1≠knbijmImp+aijmImq |
| --- | --- |

Furthermore, for bus k, we have:

| (9) | Sk=VkIk⇒Ik=Pk−jQkVk=Pk−jQk×Cosδk+jSinδkVkIk=PkCosδk+QkSinδkVk+jPkSinδk−QkCosδkVkIkp=PkCosδk+QkSinδkVkIkq=PkSinδk−QkCosδkVk |
| --- | --- |

Therefore, the share of bus k from the ijth transmission line loss can be formulated as follows:

| (10) | Plossijk=rij×aijkIkp−bijkIkq2+aijkIkp−bijkIkq×m=1≠knaijmImp−bijmImq+bijkIkp+aijkIkq2+bijkIkp+aijkIkq×m=1≠knbijmImp+aijmImq |
| --- | --- |

According to (10), some buses may have the negative loss allocation. In the next section a solution to remove the negative loss allocation is proposed.

# Proposed Unsubsidized Transmission Loss Allocation Based on Branches Current Direction

In the previous section, according to the network topology and the real and imaginary parts of the injected currents to buses, a new method for loss allocation has been proposed. In the proposed method some buses might have the negative loss allocation. The negative loss allocation to some buses is due to flowing of their currents in opposite direction with respect to the dominant flow in some transmission lines. In fact, in an appointed transmission line the injected current to a bus may flow in the opposite direction with respect to the total injected current resultant of the other buses. So, the loss allocation equation of these buses has a negative result. Here, a solution to remove the negative loss allocation is proposed. In this solution the decreasing role of such buses that reduce the line losses is considered. According to Eqs. (4) and (5), the loss allocation solution to remove the negative values is as follows:

| (11) | if ℜIij×ℜIijk≤0 Plossi−jk=0 |
| --- | --- |

The above equation shows that if the real part of the current in line i-j, contributed by bus k is in the opposite direction with respect to the real part of current contributed by other buses, the allocated loss to the bus k will be zero. On the other hand, if the real part of the current in line i-j, contributed by bus k is in the same direction with respect to the real part of current contributed by other buses, the modified real part of line i-j current should be expressed with respect to the real part of the currents contributed by buses which are in the same direction. In fact, the real parts of such currents that are in opposite direction with respect to the real part of the line i-j current are negligible (see equation (12)).

| (12) | if ℜIij×ℜIijk≥0 ⇒ℜIijmodified=k=1NdℜIijk |
| --- | --- |

So, the transmission loss due to the real part of the bus currents in line i-j can be written as the following:

| (13) | Plossi−j ℜIijmodified=rijℜIijmodified2=rijk=1NdℜIijk2=rij×k=1NdℜIijk×k=1NdℜIijk=rijk=1NdℜIijk2+ℜIijkm=1≠kNdℜIijm |
| --- | --- |

Therefore, the contribution of bus k in the losses of line i-j due to the real part of currents is as follows:

| (14) | Plosski−j ℜIijmodified=ℜIijk2+ℜIijkm=1≠kNdℜIijm |
| --- | --- |

Also, the above equations can be obtained in a similar way for imaginary part of the line i-j current. So, the contribution of bus k in the losses of line i-j due to the imaginary part of current can be calculated as Eq. (15):

| (15) | Plosski−j ℑIijmodified=ℑIijk2+ℑIijkm=1≠kNdℑIijm |
| --- | --- |

Therefore, the allocated loss value to the bus k is as follows:

| (16) | Plosski−j Iijmodified=Plosski−j ℜIijmodified+Plosski−j ℑIijmodified |
| --- | --- |

According to Eq. (12) we have:

| (17) | Plossi−j Iijmodified≠Plossi−j |
| --- | --- |

Finally, by normalizing the allocated loss values, the normalized contribution of bus k can be calculated as follows:

| (18) | Plossk(i−j)normalized =Plosski−j Iijmodifiedk=1NdPlosski−j IijmodifiedPlossi−j |
| --- | --- |

# Numerical Results

simple example without fixed losses is selected to show the application of the proposed allocation method. Fig. 2 shows a 3-bus system and Table I shows its transmission line data which is used for this purpose. Generator (located at buses 1) supplies the power demand located at buses 2 and 3.

Fig.2. 3-Bus System.

Table II summarizes the power flow solution by the Newton–Raphson method. Columns 2, 3, 4, 5, 6 and 7 show respectively, bus magnitude voltages, bus angle voltages, active generated powers, reactive generated powers, active demand powers and reactive demand powers.

- transmission line data

| Line From Bus to Bus | R (%) | X (%) | B (%) |
| --- | --- | --- | --- |
| 1-2 | 0.0200 | 0.040 | 0.025 |
| 1-3 | 0.0100 | 0.030 | 0.025 |
| 2-3 | 0.0125 | 0.025 | 0.025 |

- Three-bus system power flow results

| BusNo | Vol | Ang | PG (MW) | QG (MVAr) | PD (MW) | QD (MVAr) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 1.050 | 0.0000 | 409.224 | 172.963 | 0.000 | 0.000 |
| 2 | 0.984 | -3.539 | 0.0000 | 0 | 256.6 | 110.2 |
| 3 | 1.003 | -2.892 | 0.0000 | 0 | 138.6 | 45.20 |
| Total Sum |  |  | 409.224 | 172.963 | 395.2 | 155.40 |

Loss allocation to each bus of the typical 3-bus network is illustrated in Table3. As shown in Fig. 2, bus 3 injects the current in the opposite direction with respect to the resultant current of the network in line 2-3. So, the allocated loss of the line 2-3 to the bus 3 has a negative value. The negative allocated loss to the bus 3 is due to its decreasing role in reduction of the network losses. On the other hand, if this bus increases the network losses, it receives the positive loss allocation cost.

- the allocated loss of transmission lines to each bus of the typical 3-bus network

| Share bus 3 | Share bus 2 | Share bus 1 | Line loss (MW) | Line |
| --- | --- | --- | --- | --- |
| 0.0663 | 3.2328 | 5.0339 | 8.3400 | 1-2 |
| 1.0363 | 0.3369 | 3.5211 | 4.8943 | 1-3 |
| -0.4760 | 1.0811 | 0.1896 | 0.7946 | 2-3 |

For more description, the active load of all buses has increased. For each case, the loss allocation by using the proposed method has been done. The variations of allocated loss to each bus and the network line losses due to the load increase in bus 2 from zero to 1000 MW have been illustrated in Figs. 3 and 4 respectively.

Fig.3. Variation of allocated loss to each bus due to the load increase of the bus 2.

Fig.4. Variation of the network line losses due to the load increase of the bus 2.

As shown in Figs.3 and 4, by increasing the load in bus 2, the power flows in lines and proportionally the network line losses have increased. Thus, the allocated losses to buses 1 and 2 from the line losses have been increased. By increasing the load of bus 2, the power flow in line 3-2 from bus 3 toward bus 2 has increased. Therefore, the load of bus 3 has a decreasing role in flowing power of line 3-2. So the share of bus 3 in the allocated loss should be constant that has been yield by the proposed method.

Table IV shows the allocated losses to the buses of typical 3-bus network using the proposed method.

- The allocated losses to the buses of typical 3-bus network

| Share bus 3 | Share bus 2 | Share bus 1 | Line loss(MW) | Line |
| --- | --- | --- | --- | --- |
| 0.0663 | 3.2328 | 5.0339 | 8.3400 | 1-2 |
| 1.0363 | 0.3369 | 3.5211 | 4.8943 | 1-3 |
| 0 | 0.6795 | 0.1151 | 0.7946 | 2-3 |

As illustrated in row 3 of Table IV, the allocated loss to the bus 3 is zero. This zero allocated loss to bus 3 is due to the opposite direction of bus 3 injected current to line 3-2 with respect to the current contributed by other buses. However, the share of bus 3 is zero in loss allocation process, but due to the usage of the network to transmit the power in line 3-2, it should pay the transmission service costs.

The proposed method has been tested on a set of networks with different sizes, and it has been compared to some of most well known alternative algorithms described in the literatures. In this paper, the IEEE 14-bus is used to show the result of proposed method in comparison with pro-rata method (PR) based on complex power injection and incremental transmission loss method (ITL) as the most referenced loss allocation methods and Z-bus method.

As can be seen in Fig. 5, the IEEE 14-bus system has five controlled buses including two generator buses, in which, bus 1 is considered as the slack bus. According to the power flow results bus 1 provides 13.54 MW that should be divided between market players. Tables V and VI shows the contribution of each bus to the transmission line losses using the proposed method. Also, Table VII shows the results of proposed method adjacent to the other methods.

Fig.5. 14-bus IEEE test system

The proposed method, similar to the impedance matrix method, emphasizes on the location of buses and network topology. bus 1 that provides about 85 percent of the total generation always has the highest contribution to the loss allocation in the all methods. Also, bus 3 which comprises 36 percent of system load, after bus 1, receives the highest loss allocation by all methods. Bus 2, because of the appropriate location in the network has the least loss allocation value.

In order to analyze the effect of distributed generation and consumption, a 100 MW generator is added to the bus 8.

Table VI shows the main variation of transmission system losses, which has been led to 50 percent decrease in total network losses. Therefore, the allocated loss to the buses has changed and share of bus 1 decreased from 62 percent in previous state to 42 percent in this condition. But, due to the high distance of bus 3 from generation center, its contribution to the allocated loss has no main variations.

Fig.6. the total network losses and the allocated loss to bus 8 by changing its generation from zero to 300 MW.

- the results of proposed method beside the other methods

| Bus No | Z-bus Method | ITL Method | Pro-Rata Method | Proposed Method |
| --- | --- | --- | --- | --- |
| 1 | 7.8000 | 6.14 | 6.46 | 8.5202 |
| 2 | 0.1550 | 0.96 | 0.50 | 0.373 |
| 3 | 2.6980 | 2.92 | 2.62 | 2.2054 |
| 4 | 0.9056 | 1.26 | 1.36 | 0.8369 |
| 5 | 0.0903 | 0.18 | 0.22 | 0.0359 |
| 6 | 0.6783 | 0.32 | 0.32 | 0.0899 |
| 7 | 0.0000 | 0.00 | 0.00 | 0.0000 |
| 8 | 0.0258 | 0.00 | 0.00 | -0.0644 |
| 9 | 0.4484 | 0.68 | 0.82 | 0.4740 |
| 10 | 0.1690 | 0.20 | 0.24 | 0.1141 |
| 11 | 0.0620 | 0.08 | 0.10 | 0.0221 |
| 12 | 0.1385 | 0.18 | 0.16 | 0.0542 |
| 13 | 0.3412 | 0.32 | 0.38 | 0.3310 |
| 14 | 0.4689 | 0.32 | 0.42 | 0.5549 |
| Total Sum | 13.54 | 13.54 | 13.54 | 13.54 |

- the results of proposed method beside the other methods with adding a 100 MW generator to bus 8of the IEEE 14-bus network

| Bus. No | Z-bus Method | ITL Method | Pro-Rata Method | Proposed Method |
| --- | --- | --- | --- | --- |
| 1 | 2.32 | 1.80 | 1.6 | 2.5838 |
| 2 | 0.08 | 0.56 | 0.24 | 0.1588 |
| 3 | 2.48 | 1.58 | 1.20 | 2.3168 |
| 4 | 0.26 | 0.5 | 0.62 | 0.5281 |
| 5 | 0.02 | 0.08 | 0.1 | 0.0331 |
| 6 | 0.46 | 0.2 | 0.14 | 0.1418 |
| 7 | 0.0 | 0.0 | 0.0 | 0.0 |
| 8 | 0.18- | 0.88 | 1.28 | 0.8595- |
| 9 | 0.06 | 0.14 | 0.38 | 0.2956 |
| 10 | 0.06 | 0.06 | 0.12 | 0.1055 |
| 11 | 0.02 | 0.04 | 0.04 | 0.0221 |
| 12 | 0.1 | 0.1 | 0.08 | 0.0664 |
| 13 | 0.22 | 0.16 | 0.18 | 0.2605 |
| 14 | 0.30 | 0.1 | 0.20 | 0.3850 |
| Total Sum | 6.03 | 6.03 | 6.03 | 6.03 |

By varying the generation of bus 8 from zero to 300 MW, as illustrated in Fig. 6, the network losses firstly decrease and then increase. Also, the allocated loss, that firstly decreases and then increases, shows the proposed method has considered the network topology and the injected currents to the network buses.

The loss allocation results for IEEE 14-bus system using the modified method adjacent to the other methods have been shown in Table VII.

- Loss allocation results using the modified method beside the other methods

| Bus. No | Z-bus Method | ITL Method | Pro-Rata Method | Proposed modified Method |
| --- | --- | --- | --- | --- |
| 1 | 7.80 | 6.14 | 6.46 | 7.6822 |
| 2 | 0.155 | 0.96 | 0.50 | 0.2857 |
| 3 | 2.698 | 2.920 | 2.620 | 2.1428 |
| 4 | 0.9056 | 1.26 | 1.36 | 0.8433 |
| 5 | 0.0903 | 0.18 | 0.22 | 0.0435 |
| 6 | 0.6783 | 0.32 | 0.32 | 0.0725 |
| 7 | 0.000 | 0.000 | 0.000 | 0.000 |
| 8 | 0.0258 | 0.000 | 0.000 | 0.0296 |
| 9 | 0.4484 | 0.68 | 0.82 | 0.7053 |
| 10 | 0.1690 | 0.20 | 0.24 | 0.0921 |
| 11 | 0.0620 | 0.08 | 0.10 | 0.2599 |
| 12 | 0.1385 | 0.18 | 0.16 | 0.2374 |
| 13 | 0.3412 | 0.32 | 0.38 | 0.8594 |
| 14 | 0.4689 | 0.32 | 0.42 | 0.2864 |
| Total Sum | 13.54 | 13.54 | 13.54 | 13.54 |

As can be seen, bus 8 that has negative loss allocation in Tab. VI has 0.0296 MW of total losses using the modified method. The modified method in addition of considering the decreasing role of the generators in the network, considers the location of generators in the network and removes the negative loss allocation values.

In real power systems, there are some loads with low power factor which cause to increase the network losses and decrease transmission line capacity. The proposed method can consider these conditions. Assume the reactive load of bus 14 increases from 5 MVAr to 50 MVAr. The effect of this increment on the connected line, line 13-14, and the allocated loss to bus 14 has been studied. As can be seen in Fig. 7, the losses of line 13-14 and the allocated loss to the bus 14 is increased with increasing the reactive load of bus 14. This study shows the modified method can consider the effect of loads with low power factor in the increment of losses in network.

Fig.7. the losses of line 13-14 and the allocated loss to bus 14 by changing the reactive load of bus 14.

# Conclusion

In this paper, a new method for loss allocating is proposed. Firstly, using the relations of a transmission line loss with respect to bus injected currents, the contribution of each bus to the mentioned transmission line losses is determined. Then, this method is applied to the total network transmission lines. In the proposed method, a solution to remove the negative loss allocation is introduced. This algorithm is based on the main network relations moreover the injected power in various buses.

# References

- M. Ilic, F. Galiana, and L. Fink,” Power Systems Restructuring: Engineering and Economics”, Norwell, MA: Kluwer, 1998.

- G. B. Sheblé,“ Computational Auction Mechanisms for Restructured Power Industry Operation”, Norwell, MA: Kluwer, 1999.

- A. J. Conejo, J. M. Arroyo, and A. L. Guijarro, “Transmission Loss Allocation: A Comparison of Different Practical Algorithms”, IEEE Trans. Power Systems, vol. 17, no. 3, pp. 571-576, August 2002.

- J. W. Bialek, “Tracing the flow of electricity”, IEE Proc. Gener., Transm. and Distrib., vol. 143, issue. 4, pp. 313-320, Jul 1996.

- D. Kirschen and G. Strbac,“ Tracing active and reactive power between generators and loads using real and imaginary currents”, IEEE Trans. Power Systems, vol. 14, pp. 1312-1319, Nov. 1999.

- N. S. Rau,“ Radial equivalents to map networks to market formats” IEEE Trans. Power Systems, vol. 16, no. 4, pp. 856-861, Nov. 2001.

- J.W. Bialek,“ Tracing the flow of electricity" IEE Proc., Gener., Transm. and Distrib, vol 143, pp. 313–320, 1996.

- C. N. Macqueen, and M.R. Irving, "An algorithm for the allocation of distribution system demand and energy losses" IEEE Trans. Power Systems, 1996, 11, (1), pp. 147–156

- D. Kirschen, R. Allan, and G. Strbac, "Contributions of individual generators to loads and flows" IEEE Trans. Power Systems, 1997, 12, (1), pp. 52–60.

- Y. Tsukamoto,  and I. Iyoda, " Allocation of fixed transmission cost to wheeling transactions by cooperative game theory" IEEE Trans. Power Systems,  1996, 11, (2), pp. 620-627

- Y.C. Chang, and C. N. Lu, "An electricity tracing method with application to power loss allocation" Int. J. Elec. Power Energy Sys, 2000. 23, (1), pp. 13-17

- A. Gomez Exposito, J. M. Riquelme Santos, T. Gonzalez Garcia, and E. A. Ruiz Velasco, “Fair allocation of transmission power losses,” IEEE Trans. Power Systems, vol. 15, no. 1, pp. 184–188, Feb. 2000.

- F. D. Galiana and M. Phelan, “Allocation of transmission losses to bilateral contracts in a competitive environment,” IEEE Trans. Power Systems, vol. 15, no. 1, pp. 143–150, Feb. 2000.

- A. J. Conejo, F. D. Galiana, I. Kockar, "Z-bus loss allocation" IEEE Trans. Power Systems, vol. 16, pp. 105-110, Feb. 2001.

- C. Adsoongnoen, W. Ongsakul, C. Maurer, H. Haubrich " Transmission pricing using the exact power and loss allocation method for bilateral contracts in a deregulated electricity supply industry" Euro. Trans. Electric. Power, 2007; 17:240–254  DOI: 10.1002/etep.131

- Hai-Xia Wang, Rao Liu, and Wei-Dong Li, “Transmission Loss Allocation Based on Circuit Theories and Orthogonal Projection” IEEE Trans. Power Systems, vol. 24, No.2, pp. 868-877, May. 2009.

- Kyung-Il Min, Sang-Hyeon Ha, Su-Won Lee, Young-Hyun Moon, “Transmission Loss Allocation Algorithm Using Path-Integral Based on Transaction Strategy” IEEE Trans. Power Systems, vol. 25, No.1, pp. 195-205, Feb. 2010.

- X. Li, S. Yamashiro,  L. Wu,  Z. Liu, and M.  Ouyang,  “Generation scheduling in deregulated power market taking into account transmission loss allocation” IET Gener, Transm, Distrib, Vol. 4, Iss. 7, pp. 883–892, 2010.

- P.V. Satyaramesh, C. RadhaKrishna “Usage-based transmission loss allocation under open access in deregulated power systems” IET Gener, Transm, Distrib, Vol. 4, Iss. 11, pp. 1261–1274, 2010.

- A. Kazemi, S. Jadid, H. Andami “A circuit based method for multiarea transmission networks loss allocation" Euro. Trans. Electric. Power, 2008; 18:753–766 DOI: 10.1002/etep.225